## T24R_EDRFuelAdjustment
; | CEC Title-24 Residential Compliance Ruleset
; | EDR (energy design rating) Fuel Adjustment Multipliers table
; | Organized for multiple code baseline implementations
; | Created: |  | 6/25/19 - SAC
; | Last modified: |  | 9/3/20 - SAC - updated 2019 FAMs w/ update from KN
;
; | Source Data: |  | T24RClimateZoneCodeBaselines ruleset table
;
; | Mod history: |  | 6/25/19 - SAC - moved fuel adjustment multipliers into this new table from T24RClimateZoneCodeBaselines table
; |  |  | 6/27/19 - SAC - removed (set to 1.0) RESNET 2014 multipliers that were not being referenced
; |  |  | 7/8/19 - SAC - replaced EDR2 FAMs w/ those from KN, removed (set all to 1.0) EDR1 (Src) FAMs and added EDR options w/ no fuel adjustments
; |  |  | 8/30/19 - SAC - set all 2022 FAMs to 1.0 - no longer included in analysis
; |  |  | 10/15/19 - SAC - added new 2019 set w/ Metric = 'ver19.1.0' for use in 2019.1.1 release (to ensure consistent results w/ 2019.1.0)
;
; | Independents:
; |  | 1 | CA Climate Zone (1-16)
; |  | 2 | Code Reference
; |  | 3 | BldgType - building type descriptor to differentiate single family, multifamily and potentially other types (Proj:BldgTypeTblStr = 'SingleFam' or 'MultiFam')
; |  | 4 | Metric - description of run results this multiplier is being appied to (TDV vs. SourceEnergy vs. alternative metrics…)
; | Dependents:
; |  | 1 | HtgDRPFuelMult - multiplier on heating fuel TDV/SourceEnergy used only in calculating design ratings
; |  | 2 | ClgDRPFuelMult - multiplier on cooling fuel TDV/SourceEnergy used only in calculating design ratings
; |  | 3 | DHWDRPFuelMult - multiplier on DHW fuel TDV/SourceEnergy used only in calculating design ratings
; |  | 4 | AppDRPFuelMult - multiplier on appliance fuel TDV/SourceEnergy used only in calculating design ratings
;
;
; | [5 empty] | 1 | 2 | 3 | 4
TABLE T24R_EDRFuelAdjustment
|  | ClimateZone | CodeBase | BldgType | Metric | SpcHtg | SpcClg | WtrHtg | AppCkg
|  | * | 2008 | * | * | 1 | 1 | 1 | 1 | ; | CA T24R 2008
|  | * | 2013 | * | * | 1 | 1 | 1 | 1 | ; | CA T24R 2013
|  | * | 2006 | * | * | 1 | 1 | 1 | 1 | ; | IECC 2006
|  | * | 2014 | * | * | 1 | 1 | 1 | 1 | ; | RESNET 2014
|  | 1 | 2016 | SingleFam | * | 1.01 | 1 | 0.44 | 0.59 | ; | CA T24R 2016
|  | 2 | 2016 | SingleFam | * | 1.02 | 1.06 | 0.46 | 0.59
|  | 3 | 2016 | SingleFam | * | 1.16 | 1 | 0.46 | 0.59
|  | 4 | 2016 | SingleFam | * | 1.03 | 1.06 | 0.47 | 0.59
|  | 5 | 2016 | SingleFam | * | 1.05 | 1 | 0.45 | 0.6
|  | 6 | 2016 | SingleFam | * | 1.17 | 1.05 | 0.5 | 0.6
|  | 7 | 2016 | SingleFam | * | 1.22 | 1.13 | 0.47 | 0.59
|  | 8 | 2016 | SingleFam | * | 1.2 | 1.03 | 0.5 | 0.6
|  | 9 | 2016 | SingleFam | * | 1.17 | 1.02 | 0.5 | 0.6
|  | 10 | 2016 | SingleFam | * | 1.12 | 1.02 | 0.51 | 0.6
|  | 11 | 2016 | SingleFam | * | 1 | 1.01 | 0.48 | 0.59
|  | 12 | 2016 | SingleFam | * | 1.05 | 1.02 | 0.47 | 0.59
|  | 13 | 2016 | SingleFam | * | 1.03 | 1.01 | 0.49 | 0.59
|  | 14 | 2016 | SingleFam | * | 1.01 | 1.01 | 0.51 | 0.6
|  | 15 | 2016 | SingleFam | * | 1.13 | 1.01 | 0.59 | 0.6
|  | 16 | 2016 | SingleFam | * | 0.95 | 1.04 | 0.48 | 0.6
|  | 1 | 2016 | MultiFam | * | 0.99 | 0.33 | 0.49 | 0.57
|  | 2 | 2016 | MultiFam | * | 1.01 | 0.95 | 0.51 | 0.57
|  | 3 | 2016 | MultiFam | * | 1.17 | 0.92 | 0.5 | 0.57
|  | 4 | 2016 | MultiFam | * | 1.02 | 0.94 | 0.52 | 0.57
|  | 5 | 2016 | MultiFam | * | 1.04 | 0.71 | 0.51 | 0.58
|  | 6 | 2016 | MultiFam | * | 1.15 | 0.94 | 0.56 | 0.58
|  | 7 | 2016 | MultiFam | * | 1.36 | 0.92 | 0.52 | 0.57
|  | 8 | 2016 | MultiFam | * | 1.21 | 0.97 | 0.56 | 0.58
|  | 9 | 2016 | MultiFam | * | 1.17 | 0.98 | 0.58 | 0.58
|  | 10 | 2016 | MultiFam | * | 1.09 | 0.98 | 0.58 | 0.58
|  | 11 | 2016 | MultiFam | * | 0.98 | 0.99 | 0.54 | 0.57
|  | 12 | 2016 | MultiFam | * | 1.03 | 0.98 | 0.53 | 0.57
|  | 13 | 2016 | MultiFam | * | 1.01 | 0.99 | 0.55 | 0.57
|  | 14 | 2016 | MultiFam | * | 0.99 | 0.98 | 0.57 | 0.58
|  | 15 | 2016 | MultiFam | * | 1.1 | 0.99 | 0.65 | 0.58
|  | 16 | 2016 | MultiFam | * | 0.91 | 0.96 | 0.53 | 0.58
|  | 1 | 2019 | SingleFam | ver19.1.0 | 0.85 | 1 | 0.37 | 0.57 | ; | CA T24R 2019 | backward compatible w/ 2019.1.0 (for 2019.1.1 release) - SAC 10/15/19
|  | 2 | 2019 | SingleFam | ver19.1.0 | 0.91 | 1.04 | 0.4 | 0.57
|  | 3 | 2019 | SingleFam | ver19.1.0 | 1 | 1 | 0.4 | 0.57
|  | 4 | 2019 | SingleFam | ver19.1.0 | 0.92 | 1.04 | 0.44 | 0.57
|  | 5 | 2019 | SingleFam | ver19.1.0 | 0.91 | 1 | 0.39 | 0.57
|  | 6 | 2019 | SingleFam | ver19.1.0 | 1.02 | 1.05 | 0.44 | 0.58
|  | 7 | 2019 | SingleFam | ver19.1.0 | 1.09 | 1.09 | 0.43 | 0.57
|  | 8 | 2019 | SingleFam | ver19.1.0 | 1.07 | 1.02 | 0.46 | 0.58
|  | 9 | 2019 | SingleFam | ver19.1.0 | 1.03 | 1.02 | 0.47 | 0.58
|  | 10 | 2019 | SingleFam | ver19.1.0 | 0.98 | 1.02 | 0.46 | 0.58
|  | 11 | 2019 | SingleFam | ver19.1.0 | 0.89 | 1.01 | 0.41 | 0.57
|  | 12 | 2019 | SingleFam | ver19.1.0 | 0.94 | 1.02 | 0.41 | 0.57
|  | 13 | 2019 | SingleFam | ver19.1.0 | 0.92 | 1.01 | 0.44 | 0.57
|  | 14 | 2019 | SingleFam | ver19.1.0 | 0.87 | 1.01 | 0.47 | 0.58
|  | 15 | 2019 | SingleFam | ver19.1.0 | 0.99 | 1.01 | 0.53 | 0.58
|  | 16 | 2019 | SingleFam | ver19.1.0 | 0.7 | 1.05 | 0.39 | 0.57
|  | 1 | 2019 | MultiFam | ver19.1.0 | 0.83 | 0.33 | 0.47 | 0.56
|  | 2 | 2019 | MultiFam | ver19.1.0 | 0.89 | 0.95 | 0.49 | 0.56
|  | 3 | 2019 | MultiFam | ver19.1.0 | 1.01 | 0.94 | 0.48 | 0.56
|  | 4 | 2019 | MultiFam | ver19.1.0 | 0.9 | 0.96 | 0.51 | 0.56
|  | 5 | 2019 | MultiFam | ver19.1.0 | 0.91 | 0.71 | 0.48 | 0.56
|  | 6 | 2019 | MultiFam | ver19.1.0 | 1 | 0.94 | 0.54 | 0.56
|  | 7 | 2019 | MultiFam | ver19.1.0 | 1.23 | 0.93 | 0.52 | 0.56
|  | 8 | 2019 | MultiFam | ver19.1.0 | 1.06 | 0.97 | 0.57 | 0.57
|  | 9 | 2019 | MultiFam | ver19.1.0 | 1.02 | 0.98 | 0.57 | 0.57
|  | 10 | 2019 | MultiFam | ver19.1.0 | 0.95 | 0.98 | 0.56 | 0.56
|  | 11 | 2019 | MultiFam | ver19.1.0 | 0.88 | 0.99 | 0.55 | 0.56
|  | 12 | 2019 | MultiFam | ver19.1.0 | 0.92 | 0.98 | 0.52 | 0.56
|  | 13 | 2019 | MultiFam | ver19.1.0 | 0.89 | 0.99 | 0.53 | 0.56
|  | 14 | 2019 | MultiFam | ver19.1.0 | 0.85 | 0.98 | 0.55 | 0.57
|  | 15 | 2019 | MultiFam | ver19.1.0 | 0.95 | 0.99 | 0.62 | 0.56
|  | 16 | 2019 | MultiFam | ver19.1.0 | 0.67 | 0.95 | 0.47 | 0.56
|  | 1 | 2019 | SingleFam | * | 0.85 | 1 | 0.38 | 0.57 | ; | CA T24R 2019
|  | 2 | 2019 | SingleFam | * | 0.91 | 1.04 | 0.41 | 0.57
|  | 3 | 2019 | SingleFam | * | 1 | 1 | 0.4 | 0.57
|  | 4 | 2019 | SingleFam | * | 0.92 | 1.04 | 0.43 | 0.57
|  | 5 | 2019 | SingleFam | * | 0.91 | 1 | 0.39 | 0.57
|  | 6 | 2019 | SingleFam | * | 1.02 | 1.05 | 0.45 | 0.58
|  | 7 | 2019 | SingleFam | * | 1.09 | 1.1 | 0.44 | 0.57
|  | 8 | 2019 | SingleFam | * | 1.06 | 1.02 | 0.47 | 0.58
|  | 9 | 2019 | SingleFam | * | 1.03 | 1.02 | 0.47 | 0.58
|  | 10 | 2019 | SingleFam | * | 0.98 | 1.02 | 0.47 | 0.58
|  | 11 | 2019 | SingleFam | * | 0.89 | 1.01 | 0.43 | 0.57
|  | 12 | 2019 | SingleFam | * | 0.94 | 1.02 | 0.41 | 0.57
|  | 13 | 2019 | SingleFam | * | 0.92 | 1.01 | 0.45 | 0.57
|  | 14 | 2019 | SingleFam | * | 0.87 | 1.01 | 0.47 | 0.58
|  | 15 | 2019 | SingleFam | * | 0.99 | 1.01 | 0.54 | 0.58
|  | 16 | 2019 | SingleFam | * | 0.7 | 1.05 | 0.39 | 0.57
|  | 1 | 2019 | MultiFam | * | 0.76 | 1 | 0.43 | 0.56
|  | 2 | 2019 | MultiFam | * | 0.89 | 0.95 | 0.48 | 0.56
|  | 3 | 2019 | MultiFam | * | 0.94 | 1 | 0.45 | 0.56
|  | 4 | 2019 | MultiFam | * | 0.9 | 0.96 | 0.5 | 0.56
|  | 5 | 2019 | MultiFam | * | 0.84 | 0.93 | 0.45 | 0.56
|  | 6 | 2019 | MultiFam | * | 1 | 0.94 | 0.52 | 0.56
|  | 7 | 2019 | MultiFam | * | 1.22 | 0.93 | 0.5 | 0.56
|  | 8 | 2019 | MultiFam | * | 1.06 | 0.97 | 0.53 | 0.57
|  | 9 | 2019 | MultiFam | * | 1.02 | 0.98 | 0.54 | 0.57
|  | 10 | 2019 | MultiFam | * | 0.95 | 0.98 | 0.54 | 0.56
|  | 11 | 2019 | MultiFam | * | 0.88 | 0.99 | 0.51 | 0.56
|  | 12 | 2019 | MultiFam | * | 0.92 | 0.98 | 0.49 | 0.56
|  | 13 | 2019 | MultiFam | * | 0.89 | 0.98 | 0.49 | 0.56
|  | 14 | 2019 | MultiFam | * | 0.85 | 0.98 | 0.53 | 0.57
|  | 15 | 2019 | MultiFam | * | 0.95 | 0.99 | 0.61 | 0.56
|  | 16 | 2019 | MultiFam | * | 0.66 | 0.95 | 0.45 | 0.56
|  | * | 2022 | * | * | 1 | 1 | 1 | 1 | ; | CA T24R 2022 - regardless of metric
|  | * | * | * | * | 1 | 1 | 1 | 1 | ; | CA T24R 2022 - invalid code vintage and/or metric (or WeatherFileSet)
ENDTABLE
Note on G33: Ken Nittler: As part of 2019 work we moved these EDR adjustments to the codebase being run like 2016 or 2019. These values should probably be set to 1 to avoid confusion
Note on G34: SAC 4/17/2017: Moved these factors from design rating vintage rows to code vintage rows (2014->2016). Values updated for 2016.3.0 based on SVN 915 with heatpump sizing correction on 07/21/2017
Note on G50: SAC 4/17/2017: Moved these factors from design rating vintage rows to code vintage rows (2014->2016) Values updated for 2016.3.1 based on SVN 915 on 07/21/2017